## Slide 1: A New Cylindrical Detector System for Next Kaonic Nuclei exp. at J-PARC
Yuto Kimura, for the J-PARC E80 collaboration RARiS, Tohoku University RIKEN Nishina Center for Accelerator-Based Science, RIKEN
E-Mail: y_kimura@raris.tohoku.ac.jp

## Slide 2
“” observed : J-PARC E15
2
in-flight (, ) reaction
  Effectively produce kaonic nuclei
  Simplest target allows an exclusive analysis
Covering a wide kinematical region
CDH (TOF counter)
CDC (Tracker)
Solenoid
3He-target
missing
1 GeV/
projection
Bound
Unbound

## Slide 3
Next Kaonic Nuclei Experiments
3
J-PARC E15
  “” was successfully observed.
From Existence to their Properties
  Systematic investigation of Light Kaonic Nuclei
  “” research in more detail
    Its isospin partner “”
    Spin-Parity of “”
J-PARC E80 in 2027: First step toward these future exp.
Notes: ここにフォーカスして 検出器の説明をする。

## Slide 4
“” Search: J-PARC E80
4
Detect all of the decay particles Reconstruct the
Compared with E15 (“”),
More decay particles
Neutron must be detected
Our detector system must have
Larger solid angle
Better neutron detection efficiency
Reaction in E80
c.f.) Reaction in E15
The experimental method follows that of J-PARC E15.
Notes: より詳細な物理は橋本さんが喋るので僕は検出器

## Slide 5
New Cylindrical Detector System, CDS
5
E15-CDS
1.48 m
1.97 m
New CDS
3.85 m
3.28 m
Beam
Superconducting Solenoid Magnet
  (The same design as the COMET DS)
  Inner bore: 180cm (E15: 59cm)
  Length (beam ax.): 320cm (E15: 117cm)
  Max. field of 1.0T @ center
To extend the detectors along beam ax., and to increase the total thickness of the neutron counter,
~8 times the volume
Notes: なんとなくこれくらい大きくなります。
2*2*2で8倍。
CNC入れたい、CNCとCDCを長くしたいから Solenoid(スペックもさらっとここで)のinner大きくした。ボア(X m)とここに書く。
Comet DSと同じデザイン

## Slide 6
How to upgrade
6
  CNC and CDC are extended about x3 longer along the beam axis.
Solenoid
CNC
CDC
Yoke
E15-CDC
beam
Cylindrical Drift Chamber, CDC
  The same cell-structure design as the E15-CDC (8,244 wires)
  Length 268 cm (E15-CDC: 95cm)
Cylindrical Neutron Counter, CNC
  Plastic Scintillator, 138 segments
    300cm×6cm×6cm
    2 Layers on a cylindrical geometry
      Total thickness 12cm (E15-CDH: 3cm)
  CNC thickness is increased x4.
 Solid Angle: x1.6 (59%  93%)
 Neutron Eff.: x7 (3%  12%x1.6=21%)
268cm
95cm
Compared to E15’s detectors,
Notes: どういう思想？ NCを入れるために Solenoidをデカ隠した。 分解能は同じですを強調

## Slide 7
Acceptance improvement
7
upgrade
Enable analysis over a much wider kinematical region
  Data taking will become ~3 times more efficient.
e.g.) the case of “ 4He ”
Bound
Bound
Notes: こういうことをしたいから乞おういう検出器を作った・
３隊崩壊をメインにした方がいい。
なんのありがたみがあるのか・

## Slide 8
Status: SC Solenoid
8
With GM refrigerators, we achieved stable cooling down to the nominal temperature of 4K.
Measured magnetic field w/o Yoke was consistent with TOSCA calculation.
Magnetic field measurement w/o yoke @TOSHIBA (Beam axis scan, I = 189A)
Cooling Test
Temperature [K]
0
50
100
150
200
250
300
2025/1/13
2025/1/23
2025/2/2
Simulation
Measured
Return Yoke
SC Solenoid

## Slide 9
Status: CNC
9
We achieved required value σ ~80 ps even with 3m length scintillators.
Now all 138 modules are in hand.
Proto-type test exp. in 2025
Counter | Read out | Length | thickness | Time Reso.
E15-CDH | PMT | 80 cm | 3 cm | ~ 80 ps
CNC | PMT | 300 cm | 6 cm | ~ 120 ps
CNC | MPPC | 300 cm | 6 cm | ~ 80 ps
Result
MPPC (Hamamatsu)
S13361-6050AE-04
6 mm square, 4×4 array
Signal Amplifier
Two-stage RF amplifier
PZC circuit
Beam
Readout of E15-CDH is not applicable for 3m long plastic scintillators.
To improve light collection efficiency, we decided to use MPPCs w/o light guides.
Signal Amplifier
MPPC
300cm
(Required time reso. ~80 ps)
Notes: 角度依存と位置依存は大丈夫？（想定質問） 単にE15-CDHのままだとダメ。 就航効率を考えてライトガイドなしでMPPCに。それでようやく８０ps
表も作ってみてください(CDHとの比較。)

## Slide 10
Status: CDC
10
~100% efficiency even w/ 268cm wire, no position dependence
w/ partial preamps, cosmic-ray track was successfully reconstructed by CDC.
We will start commissioning with full readout.
φ106cm
268cm
Test chamber
CDC
CDC w/ partial Pre-amp
Cosmic Ray
Beam axis
268cm
2800V (wire length: 262cm)
2750V (wire length: 262cm)
2700V (wire length: 262cm)
2650V (wire length: 262cm)
2600V (wire length: 262cm)
Wire Efficiency vs Position

## Slide 11
Installation of the new CDS to K1.8BR is scheduled for 2026, and we plan to start the physics run (J-PARC E80) in 2027.
Summary
11
We developed and constructed a large‐acceptance Cylindrical Detector System (CDS) for the future kaonic nuclei experiments.
The three main components (SC Solenoid, CNC and CDC) have been established.
For details on the physics of kaonic nuclei experiment, please refer to Dr. T. Hashimoto’s talk on Thursday, and for related detectors, to the poster presentation by Yuto Tsutsumi (No. 68).

## Slide 12
Thank you for listening.

## Slide 13
Back Up

## Slide 14
New Cylindrical Detector System, CDS
14
  For our next kaonic nuclei experiments,
  “High-precision”
  “Efficient Neutron Detection”
  “Large Acceptance”
  are important.
Present CDS
1.48 m
1.97 m
Keep the performance of the old CDS
Upgrade with the new CDS
New CDS
3.85 m
3.28 m
Beam
Notes: どういう思想？ NCを入れるために Solenoidをデカ隠した。 分解能は同じですを強調

## Slide 15
Event Reconstruction
15
Solenoid
CNC
CDC
York
1.0 GeV/
L-4He target
Charged Particle
  CDC x Solenoid
    Momentum analysis
    Reaction Vertex
  CNC
    PID by TOF
Neutron
  CNC
    Momentum
missing
Notes: どういう思想？ NCを入れるために Solenoidをデカ隠した。 分解能は同じですを強調

## Slide 16
How to upgrade
16
  Solid Angle: x1.6 (59%  93%)
  Extend CNC and CDC about x3 longer along the beam axis
Solenoid
CNC
CDC
York
E15-CDC
E15-Solenoid inner
E15-Solenoid outer
CDC
E15-Solenoid outer
E15-Solenoid inner
CNC
Solenoid
  Neutron Eff.: x7 (3%  12%x1.6)
  Enlarged solenoid, then CNC thickness x4
beam
beam
* The radius of the new CDC is equal to E15-CDC.
Notes: どういう思想？ NCを入れるために Solenoidをデカ隠した。 分解能は同じですを強調

## Slide 17
Mass Number Dependence
17
the larger nuclei  the larger B.E.
similar width
(mesonic only)
AY: PRC65(2002)044005, PLB535(2002)70.
WG: PRC79(2009)014001.
BGL: PLB712(2012)132.
OHHMH: PRC95(2017)065202.
Kanada: EPJA57(2021)185.
B.E.
G
= without multi-N absorption
Theoretical calculation vs Measured B.E and Γ
There is uncertainty between the different theories.
Systematic measurements will provide more conclusive evidence of the kaonic nuclei.
As a first step, we plan to search for “” in J-PARC E80.

## Slide 18
Acceptance and yield
Decay mode | Lp (E15 w/ old CDS) | Ld (E80 w/ new CDS) | Lpn (E80 w/ new CDS)
 | 10 | Assumed to be 5 | 
MR beam power | 42 kW | 90 kW | 
Beam-time duration | 1 month | 3 weeks | 
Accelerator up-time | 0.89 | 0.9 | 
# of beam |  |  | 
# of on target |  |  | 
# of expected yield |  |  | 
Decay mode | Lp (E15 w/ old CDS) | Ld (E80 w/ new CDS) | Lpn (E80 w/ new CDS)
MR beam power | 42 kW | 90 kW | 
Beam-time duration | 1 month | 3 weeks | 
Accelerator up-time | 0.89 | 0.9 | 
# of expected yield |  |  | 
Upgrade
More efficient data taking
Enable us analyze on larger kinematical region
Λd ~ 10 times statistic than K-pp
Λpn ~ the same order as K-pp
18
Notes: どういう思想？ NCを入れるために Solenoidをデカ隠した。 分解能は同じですを強調

## Slide 19
Cylindrical Neutron Counter, CNC
19
The required performance
ps
Proto-type test exp. in 2025

## Slide 20
CNC
20
Read-out study w/ prototype has done! (achieved required value σ ~80 ps even if 3m length counter)
138 modules is in hand.
Proto-type test exp. in 2025
Notes: 角度依存と位置依存は大丈夫？（想定質問）

## Slide 21
Construction status
21
Return York
SC Solenoid
CNC
CDC
Install into K1.8BR beamline in 2026
Final measurement of the magnetic field w/ the york
Completed!
in commissioning!

## Slide 24
Time resolution of CNC
24

## Slide 25
Momentum Resolution of CDC
25

## Slide 26
Why K-ppn  Λ p n ?
26

## Slide 27
Acceptance improvement
27

## Slide 28
Others
28
The Λpn decay channel allows us to detect all final-state particles easily.
By going from K^-pp to K^-ppn and K^-ppnn, we can study how the binding energy and decay width evolve with the number of nucleons.
Such studies are directly connected to the physics of dense nuclear matter, which is relevant for neutron stars.
Any new particle or exotic nucleus is first confirmed in dedicated experiments.
Only after accumulating sufficient evidence across multiple experiments does it get listed in the PDG.
“Aren’t there other possibilities besides K^-pp? For example, Sigma?”
  We checked alternative scenarios, but the kinematics are best explained by K^-pp.
  That is a very important point, and actually, Dr. Hashimoto will give a dedicated talk on Thursday focusing on the physics aspects. I recommend attending his talk for a more detailed discussion.
“How can you say the K^- is real?”
  That is a very important point, and actually, Dr. Hashimoto will give a dedicated talk on Thursday focusing on the physics aspects. I recommend attending his talk for a more detailed discussion.
“Can you extend this to heavy nuclei like iron or lead?”
  In principle, yes, kaonic bound systems in heavier nuclei are of great interest.
  However, our current focus is on light kaonic nuclei, where we can perform fully exclusive measurements.
We have already confirmed that there is no position dependence. As for the angle dependence, to be honest, we have not yet tested it experimentally. It may require some adjustment of the readout side — namely, the MPPC preamps and the dynamic range of the QDC.

## Slide 29
Others
29
To reconstruct the reaction mechanism comprehensively, we need data from as wide a phase space as possible.
Wide acceptance is necessary to find such “sweet spots.”
That is a very important point, and actually, Dr. Hashimoto will give a dedicated talk on Thursday focusing on the physics aspects. I recommend attending his talk for a more detailed discussion.
シンチレーション 検出器
飛跡検出器
ソレノイド
3He標的
1 GeV/